## Microplate End point
User: Tamir_Rashid
Path: C:\Program Files (x86)\BMG\Omega\Tamir_Rashid\Data
Test ID: 484
Test Name: ALB ELISA
Date: 11/05/2022
Time: 15:35:31
ID1: Adam B06A-repeat
Absorbance |  |  | Absorbance values are displayed as OD
Raw Data (450)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.8569 | 0.8369 | 0.6858 | 0.6879 | 0.6478 | 0.6488 | 0.626 | 0.6506 | 0.6445 | 0.6513 | 0.6472 | 0.7144
B | 0.8508 | 0.8298 | 0.6753 | 0.6303 | 0.6165 | 0.62 | 0.6007 | 0.6071 | 0.6122 | 0.6002 | 0.6597 | 0.6805
C | 0.7906 | 0.7483 | 0.647 | 0.6006 | 0.6004 | 0.6201 | 0.6058 | 0.6093 | 0.5999 | 0.5939 | 0.6264 | 0.6778
D | 0.6909 | 0.6796 | 0.6175 | 0.6058 | 0.6036 | 0.6047 | 0.6054 | 0.6033 | 0.6074 | 0.5996 | 0.623 | 0.6512
E | 0.6336 | 0.6229 | 0.6727 | 0.614 | 0.6071 | 0.6135 | 0.6046 | 0.6192 | 0.6 | 0.6125 | 0.6078 | 0.6354
F | 0.5702 | 0.5482 | 0.6661 | 0.6937 | 0.6677 | 0.6527 | 0.6472 | 0.6433 | 0.6595 | 0.6693 | 0.6732 | 0.7353
G | 0.5295 | 0.5177
H | 0.4754 | 0.4847

## Layout
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD | STD | FSK 20 | FSK 10 | FSK 5 | FSK 2.5 | FSK 1.25 | FSK 0.625 | FSK 0.3125 | FSK 0.15625 | FSK 0.078125 | FSK 0
B | STD | STD | FSK 20 | FSK 10 | FSK 5 | FSK 2.5 | FSK 1.25 | FSK 0.625 | FSK 0.3125 | FSK 0.15625 | FSK 0.078125 | FSK 0
C | STD | STD | FSK 20 | FSK 10 | FSK 5 | FSK 2.5 | FSK 1.25 | FSK 0.625 | FSK 0.3125 | FSK 0.15625 | FSK 0.078125 | FSK 0
D | STD | STD | FTD 20 | FTD 10 | FTD 5 | FTD 2.5 | FTD 1.25 | FTD 0.625 | FTD 0.3125 | FTD 0.15625 | FTD 0.078125 | FTD 0
E | STD | STD | FTD 20 | FTD 10 | FTD 5 | FTD 2.5 | FTD 1.25 | FTD 0.625 | FTD 0.3125 | FTD 0.15625 | FTD 0.078125 | FTD 0
F | STD | STD | FTD 20 | FTD 10 | FTD 5 | FTD 2.5 | FTD 1.25 | FTD 0.625 | FTD 0.3125 | FTD 0.15625 | FTD 0.078125 | FTD 0
G | STD | STD
H | STD | STD

## Table End point
User: Tamir_Rashid
Path: C:\Program Files (x86)\BMG\Omega\Tamir_Rashid\Data
Test ID: 484
Test Name: ALB ELISA
Date: 11/05/2022
Time: 15:35:31
ID1: Adam B06A-repeat
Absorbance |  |  | Absorbance values are displayed as OD
Well | A01 | A02 | A03 | A04 | A05 | A06 | A07 | A08 | A09 | A10 | A11 | A12 | B01 | B02 | B03 | B04 | B05 | B06 | B07 | B08 | B09 | B10 | B11 | B12 | C01 | C02 | C03 | C04 | C05 | C06 | C07 | C08 | C09 | C10 | C11 | C12 | D01 | D02 | D03 | D04 | D05 | D06 | D07 | D08 | D09 | D10 | D11 | D12 | E01 | E02 | E03 | E04 | E05 | E06 | E07 | E08 | E09 | E10 | E11 | E12 | F01 | F02 | F03 | F04 | F05 | F06 | F07 | F08 | F09 | F10 | F11 | F12 | G01 | G02 | H01 | H02
Content | Sample X97 | Sample X98 | Sample X113 | Sample X114 | Sample X115 | Sample X116 | Sample X117 | Sample X118 | Sample X119 | Sample X120 | Sample X121 | Sample X122 | Sample X99 | Sample X100 | Sample X123 | Sample X124 | Sample X125 | Sample X126 | Sample X127 | Sample X128 | Sample X129 | Sample X130 | Sample X131 | Sample X132 | Sample X101 | Sample X102 | Sample X133 | Sample X134 | Sample X135 | Sample X136 | Sample X137 | Sample X138 | Sample X139 | Sample X140 | Sample X141 | Sample X142 | Sample X103 | Sample X104 | Sample X143 | Sample X144 | Sample X145 | Sample X146 | Sample X147 | Sample X148 | Sample X149 | Sample X150 | Sample X151 | Sample X152 | Sample X105 | Sample X106 | Sample X153 | Sample X154 | Sample X155 | Sample X156 | Sample X157 | Sample X158 | Sample X159 | Sample X160 | Sample X161 | Sample X162 | Sample X107 | Sample X108 | Sample X163 | Sample X164 | Sample X165 | Sample X166 | Sample X167 | Sample X168 | Sample X169 | Sample X170 | Sample X171 | Sample X172 | Sample X109 | Sample X110 | Sample X111 | Sample X112
Raw Data (450) | 0.8569 | 0.8369 | 0.6858 | 0.6879 | 0.6478 | 0.6488 | 0.626 | 0.6506 | 0.6445 | 0.6513 | 0.6472 | 0.7144 | 0.8508 | 0.8298 | 0.6753 | 0.6303 | 0.6165 | 0.62 | 0.6007 | 0.6071 | 0.6122 | 0.6002 | 0.6597 | 0.6805 | 0.7906 | 0.7483 | 0.647 | 0.6006 | 0.6004 | 0.6201 | 0.6058 | 0.6093 | 0.5999 | 0.5939 | 0.6264 | 0.6778 | 0.6909 | 0.6796 | 0.6175 | 0.6058 | 0.6036 | 0.6047 | 0.6054 | 0.6033 | 0.6074 | 0.5996 | 0.623 | 0.6512 | 0.6336 | 0.6229 | 0.6727 | 0.614 | 0.6071 | 0.6135 | 0.6046 | 0.6192 | 0.6 | 0.6125 | 0.6078 | 0.6354 | 0.5702 | 0.5482 | 0.6661 | 0.6937 | 0.6677 | 0.6527 | 0.6472 | 0.6433 | 0.6595 | 0.6693 | 0.6732 | 0.7353 | 0.5295 | 0.5177 | 0.4754 | 0.4847

## Protocol Information
User: Tamir_Rashid
Path: C:\Program Files (x86)\BMG\Omega\Tamir_Rashid\Data
Test ID: 484
Test Name: ALB ELISA
Date: 11/05/2022
Time: 15:35:31
ID1: Adam B06A-repeat
Absorbance
Basic settings
Measurement type: | Absorbance
Microplate name: | BMG LABTECH 96
Endpoint settings
No. of flashes per well: | 106
Scan mode: | spiral averaging
Scan diameter [mm]: | 6
Optic settings
Excitation: | 450
Shaking settings
Shaking 1
Shake: | before plate reading
Movement: | double orbital
Frequency [rpm]: | 300
Time [s]: | 10
General settings
Top optic used
Measurement head: | - (Spectrometer)
Settling time [s]: | 0.1
Reading direction: | bidirectional, horizontal left to right, top to bottom
Target temperature [°C]: | set off