## Microplate End point
User: Tamir_Rashid
Path: C:\Program Files (x86)\BMG\Omega\Tamir_Rashid\Data
Test ID: 797
Test Name: ALB ELISA
Date: 15/03/2023
Time: 16:17:26
ID1: CZC09-AAT-ZZ- 1 in 500
Absorbance |  |  | Absorbance values are displayed as OD
Raw Data (450)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.7787 | 1.9658 | 1.1492 | 1.1867 | 1.1749 | 1.1084 | 1.1403 | 1.2259 | 1.0966 | 0.8946 | 0.9481 | 0.8512
B | 1.6877 | 1.8951 | 1.1258 | 1.2318 | 1.2136 | 1.1137 | 1.1533 | 1.1835 | 1.0221 | 0.9962 | 0.8978 | 0.8252
C | 1.4529 | 1.6358 | 1.1664 | 1.193 | 1.2356 | 1.1069 | 1.1319 | 1.1857 | 1.0721 | 0.9974 | 0.8668 | 0.8433
D | 1.0229 | 1.0694 | 1.1922 | 1.314 | 1.1212 | 1.0769 | 1.1028 | 1.1038 | 0.8846 | 0.94 | 0.7722 | 0.8686
E | 0.633 | 0.6544 | 1.1858 | 1.1799 | 1.0172 | 0.9575 | 1.1187 | 1.0163 | 0.8212 | 0.8677 | 0.8741 | 0.7985
F | 0.5113 | 0.5112 | 1.1395 | 1.3213 | 1.0112 | 1.1571 | 0.9607 | 1.0382 | 0.8582 | 0.8552 | 0.8123 | 0.8044
G | 0.4766 | 0.4797
H | 0.4919 | 0.4839

## Layout
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1000 | 1000 | Veh | 0 | 0.25 | 0.5 | 1 | 2 | 4 | 10 | 20 | 30
B | 200 | 200 | Veh | 0 | 0.25 | 0.5 | 1 | 2 | 4 | 10 | 20 | 30
C | 40 | 40 | Veh | 0 | 0.25 | 0.5 | 1 | 2 | 4 | 10 | 20 | 30
D | 8 | 8 | Veh | 0 | 0.25 | 0.5 | 1 | 2 | 4 | 10 | 20 | 30
E | 1.6 | 1.6 | Veh | 0 | 0.25 | 0.5 | 1 | 2 | 4 | 10 | 20 | 30
F | 0.32 | 0.32 | Veh | 0 | 0.25 | 0.5 | 1 | 2 | 4 | 10 | 20 | 30
G | 0.064 | 0.064
H | 0 | 0

## Table End point
User: Tamir_Rashid
Path: C:\Program Files (x86)\BMG\Omega\Tamir_Rashid\Data
Test ID: 797
Test Name: ALB ELISA
Date: 15/03/2023
Time: 16:17:26
ID1: CZC09-AAT-ZZ- 1 in 500
Absorbance |  |  | Absorbance values are displayed as OD
Well | A01 | A02 | A03 | A04 | A05 | A06 | A07 | A08 | A09 | A10 | A11 | A12 | B01 | B02 | B03 | B04 | B05 | B06 | B07 | B08 | B09 | B10 | B11 | B12 | C01 | C02 | C03 | C04 | C05 | C06 | C07 | C08 | C09 | C10 | C11 | C12 | D01 | D02 | D03 | D04 | D05 | D06 | D07 | D08 | D09 | D10 | D11 | D12 | E01 | E02 | E03 | E04 | E05 | E06 | E07 | E08 | E09 | E10 | E11 | E12 | F01 | F02 | F03 | F04 | F05 | F06 | F07 | F08 | F09 | F10 | F11 | F12 | G01 | G02 | H01 | H02
Content | Sample X97 | Sample X98 | Sample X113 | Sample X114 | Sample X115 | Sample X116 | Sample X117 | Sample X118 | Sample X119 | Sample X120 | Sample X121 | Sample X122 | Sample X99 | Sample X100 | Sample X123 | Sample X124 | Sample X125 | Sample X126 | Sample X127 | Sample X128 | Sample X129 | Sample X130 | Sample X131 | Sample X132 | Sample X101 | Sample X102 | Sample X133 | Sample X134 | Sample X135 | Sample X136 | Sample X137 | Sample X138 | Sample X139 | Sample X140 | Sample X141 | Sample X142 | Sample X103 | Sample X104 | Sample X143 | Sample X144 | Sample X145 | Sample X146 | Sample X147 | Sample X148 | Sample X149 | Sample X150 | Sample X151 | Sample X152 | Sample X105 | Sample X106 | Sample X153 | Sample X154 | Sample X155 | Sample X156 | Sample X157 | Sample X158 | Sample X159 | Sample X160 | Sample X161 | Sample X162 | Sample X107 | Sample X108 | Sample X163 | Sample X164 | Sample X165 | Sample X166 | Sample X167 | Sample X168 | Sample X169 | Sample X170 | Sample X171 | Sample X172 | Sample X109 | Sample X110 | Sample X111 | Sample X112
Raw Data (450) | 1.7787 | 1.9658 | 1.1492 | 1.1867 | 1.1749 | 1.1084 | 1.1403 | 1.2259 | 1.0966 | 0.8946 | 0.9481 | 0.8512 | 1.6877 | 1.8951 | 1.1258 | 1.2318 | 1.2136 | 1.1137 | 1.1533 | 1.1835 | 1.0221 | 0.9962 | 0.8978 | 0.8252 | 1.4529 | 1.6358 | 1.1664 | 1.193 | 1.2356 | 1.1069 | 1.1319 | 1.1857 | 1.0721 | 0.9974 | 0.8668 | 0.8433 | 1.0229 | 1.0694 | 1.1922 | 1.314 | 1.1212 | 1.0769 | 1.1028 | 1.1038 | 0.8846 | 0.94 | 0.7722 | 0.8686 | 0.633 | 0.6544 | 1.1858 | 1.1799 | 1.0172 | 0.9575 | 1.1187 | 1.0163 | 0.8212 | 0.8677 | 0.8741 | 0.7985 | 0.5113 | 0.5112 | 1.1395 | 1.3213 | 1.0112 | 1.1571 | 0.9607 | 1.0382 | 0.8582 | 0.8552 | 0.8123 | 0.8044 | 0.4766 | 0.4797 | 0.4919 | 0.4839

## Protocol Information
User: Tamir_Rashid
Path: C:\Program Files (x86)\BMG\Omega\Tamir_Rashid\Data
Test ID: 797
Test Name: ALB ELISA
Date: 15/03/2023
Time: 16:17:26
ID1: CZC09-AAT-ZZ- 1 in 500
Absorbance
Basic settings
Measurement type: | Absorbance
Microplate name: | BMG LABTECH 96
Endpoint settings
No. of flashes per well: | 106
Scan mode: | spiral averaging
Scan diameter [mm]: | 6
Optic settings
Excitation: | 450
Shaking settings
Shaking 1
Shake: | before plate reading
Movement: | double orbital
Frequency [rpm]: | 300
Time [s]: | 10
General settings
Top optic used
Measurement head: | - (Spectrometer)
Settling time [s]: | 0.1
Reading direction: | bidirectional, horizontal left to right, top to bottom
Target temperature [°C]: | set off